SECTION 32 35 16

SOUND BARRIERS

FS Noishield Barriers

– GENERAL

Specifier Note: Retain or delete paragraphs in Summary per project requirements.

SUMMARY

Section Includes:

Furnish and install of sound barrier wall system including:

Acoustical barrier wall panels.

Structural steel framing.

Related Sections:

Section 01 11 00 – Summary of the Project.

Section 03 30 00 – Cast-In-Place Concrete.

Section 31 23 16 – Excavation.

Section 31 23 23 – Fill.

Section 32 91 19 – Landscaping Grading.

REFERENCES

American Society for Testing and Materials:

ASTM E90 - Laboratory Measurements of Airborne Sound Transmission Loss of Building Partitions.

ASTM C423 - Standard Test Method for Sound Absorption and Sound Absorption Coefficients by the Reverberation Room Method.

ASTM B117 - Standard Practice for Operating Salt Spray (Fog) Apparatus

ADTM G23 - Practice for Operating Light-Exposure Apparatus (Carbon-Arc Type) With and Without Water for Exposure of Nonmetallic Materials

ASTM D4214 - Standard Test Methods for Evaluating the Degree of Chalking of Exterior Paint Films

ASTM D2244 - Standard Practice for Calculation of Color Tolerances and Color Differences from Instrumentally Measured Colored Coordinates

ASTM A924 - Standard Specification for General Requirements for Steel Sheet, Metallic-Coated by the Hot-Dip Process

ASTM A653 - Standard Specification for Steel Sheet, Zinc-Coated (Galvanized) by the Hot-Dip Process

ASTM A123 - Standard Specification for Zinc (Hot-Dipped Galvanized) Coating or Iron and Steel Products

ASTM A992 - Standard Specification for Structural Steel Shapes

ASTM A36 - Standard Specification for Carbon Structural Steel

SEQUENCING

Summary of the Project (Section 01 11 00): Work sequence.

Construction Progress Documentation (Section 01 32 00): Project schedule.

DEFINITONS

Sound Transmission Class (STC): Single number quantifier used to rate partitions, doors and windows for their effectiveness in blocking sound per ASTM E90.

Noise Reduction Coefficient (NRC): Single number quantifier used to rate materials for their effectiveness in absorbing sound per ASTM C423.

SUBMITTALS

General: Provide listed submittals in accordance with Conditions of the Contract and Division 1 (Section 01 33 00) Submittal Procedures.

Product Data: Submit manufacture's certification of compliance with this specification, standard details, certified product test results, installation instructions and general recommendations as applicable to materials and finishes for each component.

Shop Drawings:

Prior to shop drawing preparation and fabrication of panels, field measurements shall be taken of structure and substrates to receive panel system.  Incorporate measurements and show adjustments so that panels may accommodate actual site conditions.

Specifier Note: If required, retain reference to PE and insert relevant State / Commonwealth.

Submit detailed design calculations, construction drawings and layout of sound barrier wall construction. [Calculations and drawings shall be prepared and sealed by a Professional Engineer experienced in sound barrier wall design and licensed in applicable State / Commonwealth.]

Samples: Submit selection and verification samples for finishes, colors and textures.  Sample materials shall be a minimum of 4 inches x 12 inches.  Include any panel accessories as required.

Sustainable Design Requirements (Section 01 81 13) for LEED Submittals:

Recycled Content:

Indicate percentage or pre-consumer and post-consumer recycled content per unit of product.

Indicate relative dollar value of recycled content to total dollar value of product included in project.

Local / Regional Materials:

Indicate distance between manufacturing facility and the project site.

Indicate distance between extraction, harvesting and recovery and the project site

Indicate relative dollar value of local/regional materials to total dollar value of product in project.

Contract Closeout Submittals: (Refer to Section 01 78 00)

Maintenance Data (Section 01 78 23.16).

Warranty (Section 01 78 36) that all products shall perform in accordance with Contract Documents for a period of one (1) year from shipment and that any deficiencies shall be correctly promptly after receipt of written notice from Owner.

Specifier Note: Article below should include prerequisites, standards, limitations and criteria that establish an overall level of quality for products and workmanship for this section. Coordinate article below with Division 1 (Section 01 43 00) Quality Assurance.

QUALITY ASSURANCE

Manufacturer's Qualifications: Approved manufacturer listed in this section shall have a minimum of 10 years experience in the manufacture of sound control products.

Installer's Qualifications: Installer shall be thoroughly trained and experienced in the necessary crafts and familiar with the methods needed for proper performance of this section.

DELIVERY, STORAGE & HANDLING

General: Comply with Division 1 (Section 01 60 00) Product Requirements.

Check materials upon delivery to assure specified type, grade, color and texture of materials have been received.

Deliver materials in manufacturer’s original, unopened, undamaged containers with identification labels intact.

Storage and Protection: Store and handle materials in accordance with manufacturer's recommendations.  Use all means necessary to protect materials from damage before, during and after installation.

- PRODUCTS

MANUFACTURERS

Basis of Design: IAC Acoustics, Noishield Barrier Wall System.

IAC represented by,  O’Neill Engineered Systems, Inc. 1420 E. Bristlecone Drive  Hartland, WI  53029; Telephone: (262) 367-6700; Fax: (262) 367-6760; Contact:  Tim O’Neill; E-mail: toneill@noiseproblems.com, Web site: www.noiseproblems.com

Substitutions: Submit prior to bidding in accordance with Document 00 43 25 and Division 1 (Section 01 25 00) Substitution Procedures.

Performance Requirements

Specifier Note: Select one of the following two options for panel construction.  Delete the alternative.  Apply to panel structural requirements as well.

FS/S (steel const.) Sound Transmission Loss (dB) per ASTM E90 & Sound Transmission Class (STC) per E413:

| 1/3 Octave Band Center Frequency (Hz) | 125 | 250 | 500 | 1K | 2K | 4K | 8K | STC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Noishield FS/S (steel construction) | 21 | 34 | 40 | 33 | 32 | 26 | 37 | 30 |

FS/S (steel const.) Sound Absorption Coefficients per ASTM C423:

| 1/3 Octave Band Center Frequency (Hz) | 125 | 250 | 500 | 1K | 2K | 4K | 8K | NRC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Noishield FS/S (steel construction) | 1.12 | 1.12 | 1.10 | 1.01 | 0.89 | 0.76 | 0.57 | 1.05 |

FS/A (aluminum) Sound Transmission Loss (dB) per ASTM E90 & Sound Transmission Class (STC) per E413:

| 1/3 Octave Band Center Frequency (Hz) | 125 | 250 | 500 | 1K | 2K | 4K | 8K | STC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Noishield FS/A (aluminum construction) | 21 | 32 | 37 | 30 | 37 | 28 | 30 | 31 |

FS/A (aluminum) Sound Absorption Coefficients per ASTM C423:

| 1/3 Octave Band Center Frequency (Hz) | 125 | 250 | 500 | 1K | 2K | 4K | 8K | NRC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Noishield FS/A (aluminum construction) | 1.12 | 1.12 | 1.10 | 1.01 | 0.89 | 0.76 | 0.57 | 1.05 |

Specifier Note: Retain the longest applicable span.  Delete the remaining options.

Structural: Galvanized steel panels shall be designed to withstand a wind pressure of [24.2 PSF at a span of twenty (20) feet] [37.8 PSF at a span of sixteen (16) feet] [67.3 PSF at a span of twelve (12) feet] without reinforcement.

Structural:  Aluminum panels shall be designed to withstand a wind pressure of [14.3 PSF at a span of twenty (20) feet] [22.3 PSF at a span of sixteen (16) feet] [39.7 PSF at a span of twelve (12) feet] without reinforcement.

Corrosion Testing: Modules shall prove testing for corrosion resistance in accordance with ASTM B117.  After 2,400 hours of exposure, the coating system shall not fail due to blistering, loss of adhesion or corrosion along the score lines.

Weather Testing: Modules shall prove testing for accelerated weathering in accordance with ASTM G23.  After 2,400 hours of testing, module samples shall not exhibit chalking greater than No. 8 per ASTM D4214 or a color change greater than 5 NBS units per ASTM D2244.

COMPONENTS

Standard Panel Construction:

Individual panels shall be two (2) feet high or (1.5) feet high x five (5) inches thick x up to twenty (20) feet in length.

Specifier Note: Select one of the following two options for panel construction.  Delete the alternative.  Apply to panel structural requirements as well.

Panels shall be constructed of [galvanized steel manufactured in accordance with ASTM A924 and ASTM A653] [aluminum type 5052].

Panel components shall meet the following structural requirements:

Perforated face sheet shall be [20 gauge steel] [0.050 mill finished aluminum].

Solid face sheet shall be [14 gauge steel] [0.050 mill finished aluminum].

Solid end caps shall be [18 gauge steel] [0.050 mill finished aluminum]

Acoustic Fill:

Fiberglass, non-corrosive, resistant to attack by fungus, vermin proof and non-hygroscopic.

Free draining, self-supporting and shall retain physical and sound absorptive characteristics after long term exposure to the elements.

Class A Fire Rating with a Flame Spread not greater than 25.

Bearing Blocks shall be:

Used to support the bottom panel of the wall system

1 inch thick x 2.25 inch wide x 4 inch long

65 durometer EPDM, neoprene or rubber.

Steel columns:

Specifier Note: Select one of the following two options for steel column finish.

Fabricated structural steel members to [be hot-dipped galvanized after fabrication per ASTM A123] [receive epoxy paint coating].

Steel for wide flange shapes and built-up column members shall conform to ASTM A992.  All other structural steel base plates and braces shall conform to ASTM A36.

Anchor Bolts: ASTM A36 galvanized.

Post Footing: Refer to Section 03 30 0.

FABRICATION

Perforated and solid sheets shall be roll-formed in lengths up to twenty (20) feet.

Panel shall be assembled to form a free-draining module.

Spot welds or mechanical fasteners shall not be acceptable to join the solid inner and perforated outer panel sheets together.  Internal reinforcement shall not be acceptable.

Fabricate panels to be rigid, neat in appearance and free from defects.

Panel assembly shall such so as to compress and hold the fill materials in place under severe conditions of vibration such as encountered in shipment and installation.  Any voids in the panel will be unacceptable.

Panel manufacturer, where required, shall provide openings for any large known penetrations.  Pipe and conduit penetrations shall be located and cut in the field and sealed in accordance with manufacturer's instructions.

FINISH

Panels shall be finished with a factory-applied polyester powder coating system.

Finish coating shall have a dry film thickness of three (3) mils (+/- 0.5 mils).

Powder colors shall be selected from manufacturer’s list of available colors.

- EXECUTION

EXAMINATION

Project Management and Coordination (Section 03 31 00) – Coordination and project conditions

Verify substrate is level, smooth, capable of supporting units and imposed loads and ready to receive work of this section.

Verify gradients and elevations of substrate are correct.

Beginning installation means acceptance of conditions.

INSTALLATION

Install in strict accordance with manufacturer's published instructions for specific installation conditions.

Install wall to provide rigid structure.

Perform excavation as specified in Section 31 23 16.

SITE TOLERANCES

Quality Requirements (Section 01 40 00) - Tolerances.

Maximum variation from plumb: 1/4 inch.

Maximum Offset from True Position: 1 inch.

Components shall not infringe on adjacent property lines.

END OF SECTION